## Slide 1: Do-more Technical Training
System Configuration
(Device Configuration)

## Slide 2: System Configuration
Device Configuration
  Device Name: assigned name or name given to it in Module Configuration (cannot be changed here)
  Type:
    IntModTCPServer
    IntEthernet
    IntModTCPClient
    IntSerial
    LocalIOMaster
    DMLogger
    User Log
    User Modbus TCP Client
    User SMTP Client (EMail)
    User TCP Client
    User TCP Server
    User UDP Connection
    Etc…
  Configuration: summary of the configuration
  Heap Item: name of the Heap Item for the given Device
Notes: Launchpad: nothing new here
Project Browser:
  Buttons
    Control Logic Filter – Display filter
    New Code Block – Create new code blocks
    Execution Order – Change execution order of blocks
    Status – Shows which blocks are enabled to run
    Sort Code Blocks – Change display order
    Sort Memory – Change display order
  Control Logic
  Configuration
  Tools
Debug View
  NOTE: Message Dump – enables dump to Do-more Logger, $EnableMsgDump (ST36)
Data View
PID Overview

## Slide 3: CPU Configuration
Driver Interface
DEVICE
Instruction Interface
Memory Interface
Manual
Configuration Interface