## Slide 1: Do-more Technical Training
System Configuration
(I/O Configuration)

## Slide 2: System Configuration
I/O Configuration
  Overview
  Local I/O Master
  I/O Base
  Ethernet I/O Master

## Slide 3: System Configuration
I/O Configuration
  Local I/O Master
    Auto: PLC automatically creates config for installed I/O upon transition to RUN mode
    Manual: You create I/O config.
      Manual config must match I/O or no RUN mode

## Slide 4: System Configuration
I/O Configuration
  I/O Base
    Scan Base
    Base Size
    Mouse hover gives info
      Right-click on module
        Optional – presence not necessary for RUN mode
        Delete Module
        Read Module Name
        Configure Module
        View Manual 
        View Specs 
      Right-click on Empty
        (Terminator I/O)
        (GS-EDRV)
Notes: Have them add various modules in Manual Mode

## Slide 5: System Configuration
I/O Configuration
  Ethernet I/O Master
    Ethernet Master Address Configuration
      Set Node and IP Configuration
    Ethernet Slaves
      Set Slave IP Config…
        Setup Selected Slave
        Query Slaves
      Add Multiple Slaves via Query…
      Manually Add Single Slave…
      Edit Slave…
      Delete Slave…
      Rescan Slave’s I/O…
      Move Up
      Move Down
Notes: Configure CPU for Ethernet I/O
Add EBC100 as slave