## Slide 1: Do-more Technical Training
System Configuration
(Memory Configuration)

## Slide 2: System Configuration
Memory Configuration
  Memory Blocks
    Add
    Edit
    Delete
    Hide Built-ins
  Heap Items
    Add
    Edit
    Delete
    Hide Built-ins
    Hide System
Notes: Launchpad: nothing new here
Project Browser:
  Buttons
    Control Logic Filter – Display filter
    New Code Block – Create new code blocks
    Execution Order – Change execution order of blocks
    Status – Shows which blocks are enabled to run
    Sort Code Blocks – Change display order
    Sort Memory – Change display order
  Control Logic
  Configuration
  Tools
Debug View
  NOTE: Message Dump – enables dump to Do-more Logger, $EnableMsgDump (ST36)
Data View
PID Overview

## Slide 3: System Configuration
Memory Configuration
  Memory Blocks
    Indexable
      (Fred0, Fred1, Fred2, etc.)
    Common data type
      (bits, numeric, structure)
    Referenced by name & index
      (Fred0, Fred[V15])
    Cannot be created while editing ladders
Notes: Launchpad: nothing new here
Project Browser:
  Buttons
    Control Logic Filter – Display filter
    New Code Block – Create new code blocks
    Execution Order – Change execution order of blocks
    Status – Shows which blocks are enabled to run
    Sort Code Blocks – Change display order
    Sort Memory – Change display order
  Control Logic
  Configuration
  Tools
Debug View
  NOTE: Message Dump – enables dump to Do-more Logger, $EnableMsgDump (ST36)
Data View
PID Overview

## Slide 4: System Configuration
Memory Configuration
  Heap Items (single instance)
    Not Indexable
      (Fred, Wilma, Barney, etc.)
    Common data type
      (structure only)
    Referenced by name (no index)
      (Fred, Wilma, Barney, etc.)
    Can be created while editing ladders
      NOTE: If created while editing ladders, cannot download in RUN mode because System Configuration was changed.
Notes: Launchpad: nothing new here
Project Browser:
  Buttons
    Control Logic Filter – Display filter
    New Code Block – Create new code blocks
    Execution Order – Change execution order of blocks
    Status – Shows which blocks are enabled to run
    Sort Code Blocks – Change display order
    Sort Memory – Change display order
  Control Logic
  Configuration
  Tools
Debug View
  NOTE: Message Dump – enables dump to Do-more Logger, $EnableMsgDump (ST36)
Data View
PID Overview

## Slide 5: System Configuration
Memory Configuration
TYPE | MEMORY BLOCKS | HEAP ITEMS
Bit | Yes | No
Unsigned / Signed Byte | Yes | No
Unsigned / Signed Word | Yes | No
Signed Word | Yes | No
Real | Yes | No
Timer Struct | Yes | Yes
Counter Struct | Yes | Yes
String Struct | Yes | Yes
PID Struct | Yes | Yes
Date/Time Struct | Yes | Yes
Task Struct | Yes | Yes
Rampsoak Struct | Yes | Yes
Program Struct | Yes | Yes
DeviceRef Struct | Yes | Yes
Drum Struct | Yes | Yes
Notes: Launchpad: nothing new here
Project Browser:
  Buttons
    Control Logic Filter – Display filter
    New Code Block – Create new code blocks
    Execution Order – Change execution order of blocks
    Status – Shows which blocks are enabled to run
    Sort Code Blocks – Change display order
    Sort Memory – Change display order
  Control Logic
  Configuration
  Tools
Debug View
  NOTE: Message Dump – enables dump to Do-more Logger, $EnableMsgDump (ST36)
Data View
PID Overview